|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Biosafety Level One Laboratory Self-Inspection** | | **Washington State University** **Institutional Biosafety Committee** | | | | | | |
| **Lab P.I./Lab Manager:** | **Inspection Date:** | | **Inspected By:** | | | | | |
| **Lab Location (Bldg/Rm** - one room per report**):** | **College/Department:** | | **BAF #:** | | | | | |
| **List of Agents that will be Used/Stored in Lab (List recombinant DNA, bacterial, viral, fungal, parasitic, prion, toxic, or other agents):** | | | | | | | | | |
| **INSPECTION CHECKLIST (Citation numbers refer to BMBL sections in the BSL-1 criteria)** | | | | | | | |
| **LABORATORY FACILITIES AND EQUIPMENT** | | | | | **Y** | **N** | **NA** |
| A.9 A sign incorporating the universal biohazard symbol posted at the entrance to the laboratory. [WSU Laboratory Signage Program](https://ehs.wsu.edu/laboratory-safety/laboratory-signage-program/) signs should be used to meet this requirement. | | | | |  |  |  |
| A.5.b Containers for disposable sharps (i.e. syringes) are labeled, conveniently located, and puncture resistant. | | | | |  |  |  |
| A.5.c Containers for non-disposable sharps (i.e. scalpels) are hard-walled and leak proof. Sharps containers are decontaminated (e.g., autoclaved) prior to disposal or reprocessing. | | | | |  |  |  |
| A.5.d Mechanical means of handling (i.e. broom, dustpan, tongs) and disposing of broken glass is readily available. (SPPM 4.26) | | | | |  |  |  |
| A.6 Procedures are performed to minimize the creation of splashes and aerosols. | | | | |  |  |  |
| A.8 Methods for decontaminating wastes are available in the facility (e.g. autoclave, chemical disinfection, incineration, other validated method). | | | | |  |  |  |
| D.1 Laboratories should have doors for access control. | | | | |  |  |  |
| D.2 Laboratories must have a sink, soap, and towels for hand washing. | | | | |  |  |  |
| D.3 Lab designed to be easily cleaned (*e.g.,* no carpets/rugs, e*tc*.). | | | | |  |  |  |
| D.4. Spaces between benches, cabinets and equipment are accessible. Lab furniture is suitable for intended use/loads. | | | | |  |  |  |
| D.4.b Chairs used in laboratory work are covered with a non-porous material that can easily cleaned and decontaminated. | | | | |  |  |  |
| D.5 Lab windows that open to the outside should be fitted with fly screens. | | | | |  |  |  |
| Inspected by (Signature): | | | | Date: | | | |

X

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **INSPECTION FINDINGS (to be completed by Biosafety Officer)** | | | | |
| **Checklist Number** | **Deficiencies** | **Recommended Corrective Actions** | **Status** | |
|  |  |  |  | |
|  |  |  |  | |
|  |  |  |  | |
|  |  |  |  | |
|  |  |  |  | |
| **IBC disposition: 🞎 Approved for work at BSL-1 🞎 Provisionally approved for work as BSL-1** | | | | |
| **Comments:** | | | | |
|  | | | | |
|  | | | | |
| Biological Safety Officer Signature: | | | | Date: |